## BRTO - General Study Module tab
General Study Module
Attribute Name | Tag | Presence | Attribute Note
Study Instance UID | (0020,000D) | R+* | IHE requires that this value be preserved in the following cases: If a set of images are resampled and re-exported. This new set of images will be a new series. This series will belong to the same study and will have the same study date. This is to facilitate grouping the images in a PACS. When a plan is constructed from a structure set. The plan will be in the same study, and will have the same study date. IHE requires that this element be present. Equipment which creates new series based on other series (i.e. resampled series, new structure sets, plans, etc) must preserve the value of this element to adhere to this profile.
Study Date | (0008,0020) | R+ | [See Study Instance UID (0020,000D)]
Study Time | (0008,0030) | R+ | [See Study Instance UID (0020,000D)]
Study ID | (0020,0010) | R+ | [See Study Instance UID (0020,000D)]
Study Description | (0008,1030) | O+ | [See Study Instance UID (0020,000D)]