## Description
General Dose Viewer Scenario
Instructions for use test scenarios
Description:
This test scenario provides the general dose viewer actor with RAD 4.8, MMRO-4 and RO-DC1
- Checks the correct storage of Single/contoured CT series dataset (DICOM assoc. & interaction level)
- Checks the correct storage of the Structure set (DICOM association & interaction level)
- Checks the correct storage of the Dose (DICOM association & interaction level)
When this scenario starts the following dialog will show up.
Select the directory where the images are located and for the other IOD's a file needs to be selected.
Transactions sent to actor:
RAD-4.8 (Modality Images Stored)
MMRO-4 (Registered Structure Set Retrieval)
RO-DC1 (General Dose Retrieval)
Expected transactions from actor:
n.a.
Used scenario dataset:
This scenario uses the selected dataset.